## Slide 1: Ohio Gas Association
Eric Six
Heath Consultants Incorporated
Effective and Ergonomic Bar-hole Techniques and Tools
9030 Monroe Road
Houston, TX 77061
www.heathus.com

## Slide 2: Notice
The contents of this manual are proprietary to Heath Consultants (HEATH). Reproduction in whole or in part of this manual is prohibited without the express written consent of HEATH. HEATH operates under a continual product improvement program and reserves the right to make improvements and or changes without prior notification. This manual supersedes all previous manuals for this device.

## Slide 3: Warnings
It is essential that users of this product understand and follow the instructions for operation and maintenance and the precautions in this manual to ensure that the device is used in a proper and safe manner. For situations where injury to the operator or damage to the product may occur, the warnings enclosed in text boxes in the manual should be shown to alert the operator.
It is sole responsibility of the product purchaser/owner to ensure that: (1) all users of the product read, understand and comply with the precautions, instructions for operation and maintenance requirements contained in this manual; (2) the product is used in a proper and safe manner.
HEATH only warrants that parts manufactured by HEATH will be as specified and free of defects. HEATH makes no other warranties or representations of any kind whatsoever, expressed or implied. Any implied warranties, including any warranty of merchantability and fitness for a particular purpose or use, are hereby disclaimed.
It is essential that users of this product understand and follow the instructions for operation and maintenance and the precautions in this manual to ensure that the device is used in a proper and safe manner. For situations where injury to the operator or damage to the product may occur, the warnings enclosed in text boxes in the manual should be shown to alert the operator.
It is sole responsibility of the product purchaser/owner to ensure that: (1) all users of the product read, understand and comply with the precautions, instructions for operation and maintenance requirements contained in this manual; (2) the product is used in a proper and safe manner.
HEATH only warrants that parts manufactured by HEATH will be as specified and free of defects. HEATH makes no other warranties or representations of any kind whatsoever, expressed or implied. Any implied warranties, including any warranty of merchantability and fitness for a particular purpose or use, are hereby disclaimed.

## Slide 4: Overview
This procedure describes the detailed steps to follow to ensure safety when “bar holing” using a Plunger Bar only. This procedure does not describe how to pinpoint a gas leak or any other applications using the Plunger Bar. Please follow your utility’s proper procedures and steps for any other particular application.
WARNING
The Plunger Bar is equipment used to make a gas sampling hole in the ground. Safe use of the Plunger Bar as explained in this procedure is paramount. Otherwise, tremendous danger to the life and property of the operator and his/her surroundings can occur.
This procedure describes the detailed steps to follow to ensure safety when “bar holing” using a Plunger Bar only. This procedure does not describe how to pinpoint a gas leak or any other applications using the Plunger Bar. Please follow your utility’s proper procedures and steps for any other particular application.

## Slide 5: Safety
The following personal protective equipment (PPE) is recommended when using the Plunger Bar:
    Steel-toed shoes
    Reflective safety vest
    Safety glasses
    Hard hat
    Work gloves
Some operators may also require additional personal protection equipment.

## Slide 6: Prior to Use
(Guide plug check)
Inspect bar for damage; replace it if not suitable for use.
    Coating damage
    Bent rod
    Movement of rod and piston in handle
    If the rod and piston assembly does not move freely, or you hear loose pieces
    Condition of ball tip
Check the guide plug
    Should be threaded securely into the handle
    Should be tight

## Slide 7: Bar Hole Procedure
WARNING
When bar holing in areas with poor venting (e.g. wall to wall concrete) or when gas migration may follow the trench line to a structure, use extreme caution to avoid hitting the gas pipe and potentially rupturing it. You may be required to limit the depth of the bar hole or locate the utility line to reduce the risk of hitting a gas pipe.
WARNING
When driving your bar into the ground, be aware of any undue resistance in the ground which may be caused by an underground utility. If this happens, cease pounding immediately.
WARNING
Keep the rod tip on the ground when starting a bar hole.
WARNING
The Plunger Bar is primarily intended for bar holing in soil. Using it to go through hard surfaces (e.g. concrete, asphalt, road bed, etc.) may require excessive force which may cause the bar to fail or result in injury. Should the bar become wedged and stuck in the ground, trying to remove the bar by jerking it may cause bar failure or injury. Alternative drilling tools should be used for hard surfaces.

## Slide 8: Bar Hole Procedure cont’d
Prior to placing any bar holes, read any signs on the street (such as those placed by utilities) and look for the presence of any underground structures.
Look for any underground markers, valve boxes, manhole lids, pedestals, electric distribution transformers, telephone, cable and electric drops, curb boxes on the gas and water lines and pre-existing mark outs. This includes TV cable, street lights, traffic lights, hidden dog fences, sprinkler systems, heated sidewalks, etc. This list is given just as an example and is not exhaustive of all the things that could be present underground.
Never knowingly bar hole over your own underground facilities or those of another utility.

## Slide 9: How to Put Bar Holes in Place
Place the end of the rod on the ground at the point where you want the hole, then position the rod in a vertical position. Raise the handle with one or both hands, then bring the handle down, allowing the weight of the handle to drive the rod into the ground. Release your grip slightly at the moment of impact.
Do not try to force the bar into the ground by the strength of your shoulders or back. Do not have multiple people apply force on the handle to drive the rod. If ground resistance is too strong to drive the rod, ascertain the reason. Different equipment may be needed.
Stand erect with bent knees hold the Plunger Bar away from your face and body.
Pound the bar down a couple of inches then work bar around in a circular fashion.

## Slide 10: How to Put Bar Holes in Place cont’d
Repeat the process until the desired depth has been reached.
As the Plunger Bar is driven deeper, bend your knees, not your back.
Once the bar hole is completed to the desired depth, you can reverse the handle action to remove the Plunger Bar form the hole. Raise the handle with your hands, allowing the weight of the handle to pull the rod out of the ground. Be sure to keep your head clear—people have been known to knock themselves out by hitting themselves in the chin.
Check the guide plug frequently during use.
CAUTION
Always keep your back straight, keep the Plunger Bar handle away from your face and upper body. Keep knees bent.

## Slide 11: Things to Consider
Some companies limit the maximum depth for bar holing (typically to 18 inches). This minimizes the potential for injury and damage to the underground utilities.
When bar holing to classify a leak, our primary focus is the migration of the gas to underground and above ground structures and buildings; we are not pinpointing the leak for repair. Please follow your utility’s procedure for pinpointing and classifying leaks.
How to carry the bar: the most practical way to carry the bar is to place the handle on the ground, grasp the handle about 6” to 8” from the bottom of the handle, then rest the rod on your shoulder, the bar should be upside- down at this point. Make certain you grasp the rod securely and far enough down so that your hand does not get pinched between the rod and the handle. By doing this, you have the bar parallel and to one side of your body, where you can control it. Do not place the handle over your shoulder with rod behind you. You will be unable to watch it, and you run the risk of injuring someone around you.

## Slide 12: Conclusion
Safety is paramount when using the Heath Consultants Incorporated Plunger Bar.
Review your company’s written procedures regarding required PPE, placement of bar holes and maximum bar hole depth.