Principles of Fighting Natural Gas Fires

Utility Technologies International

Hosted at:

The Energy Cooperative

120 O’Neill Drive, Hebron, OH 43025

April 15 & 16, 2025

- Introduction – 8:30 – 8:35

- Safety – 8:35 - 8:45

- Properties of Natural Gas – 8:45 – 9:00

- Type of Pipelines – 9:00 – 9:15

  - Steel

  - Plastic

  - Transmission

  - Gathering

  - Distribution

  - Mains

  - Services

  - Risks

  - Videos of Fires on Different Lines

- Leaks – 9:15 – 9:30

  - Identification

    - Blowing Gas

    - Odor

    - Bubbles

    - Dead Vegetation

    - Insects

  - Causes of Leaks

    - Accidents

    - Dig-ins

    - Corrosion

    - Component Failure

    - Vandalism

    - Illegal Taps

  - Videos

- Break – 9:30 – 9:45

- What To Do in Case of Fire – 9:45 – 10:30

  - Fire Triangle

  - How Fires Start

  - Protect Life & Property

  - Let it Burn

  - Don’t Use Water

  - Turn Off Gas

  - Videos of leaks and fires

- Fire Extinguishers – 10:30 – 10:45

  - Types

  - Monthly Inspection

  - Annual Certification

- Virtual Fire Extinguisher Practice – 10:45 – 11:30

  - Simulation Training

- Lunch – 11:30 – 12:30

- Hands-On Fire Training – 12:30 – 3:00

  - Demonstration of Correct technique

  - Demonstration of Incorrect technique

  - Individual Fire Control Exercise

  - Watching others