## Slide 1: Pipeline Safety: Regulatory and Enforcement Priorities and Reauthorization of the Pipeline Safety Act
Joseph E. Hainline
Ohio Gas Association Technical Seminar
March 21, 2025

## Slide 2: Overview
Pipeline Safety Act & PHMSA
Pipeline Safety Reauthorization
GAO Reports
Regulatory Initiatives

## Slide 3: The Pipeline Safety Act
Protect against risks to life and property posed by pipeline transportation and facilities
  Uniform national pipeline safety standards
  Preempts state safety regulations
Broad Jurisdiction
  Pipeline facilities and transportation of gas and hazardous liquids
  “In or affecting” interstate commerce
  Interstate and intrastate pipelines, gas distribution, some gas gathering, and storage

## Slide 4: The Pipeline Safety Act
PHMSA
  Modal agency within US Department of Transportation
  Issues federal pipeline safety standards
  Administers national pipeline safety program in partnership with states & oversees state pipeline safety programs
Federal/State Partnership
  Interstate pipelines: PHMSA
  Intrastate pipelines: State Authority that submits certification to PHMSA and meets conditions
    Must adopt federal safety standards
    May adopt more stringent safety standards for intrastate pipelines as long as compatible with federal standards
    PHMSA is backstop if no State Authority

## Slide 5: The Gas Pipeline Industry
Over 2.7 million miles of gas pipelines in the U.S.
  2.3 million distribution (mains and service lines)
  300,000 gas transmission
80% of this infrastructure is regulated by states applying federal safety standards.

## Slide 6: Reauthorization of the Pipeline Safety Act
2020 PIPES Act - most recent reauthorization
  Emphasis on environmental benefits
  Elimination of methane emissions
  Repair and remediation of pipelines known to leak
  Consistent with PHMSA’s long-term focus on modernizing/replacing aging infrastructure

## Slide 7: Reauthorization of the Pipeline Safety Act
Congressional Committees: 118th Congress
House Draft Bills
  House Committee on Transportation and Infrastructure
    HR 6509 – November 2023 – Confidential Voluntary Info Sharing
    HR 6510 – November 2023 – Hydrogen Safety
    HR 6494 – December 2023 – PIPES Act of 2023
  House Committee on Energy & Commerce
    HR 7073 – January 2024 – Next Gen. Pipeline R&D Act
    HR 7655 – March 2024 – Pipes Act of 2024
    HR 9323 – August 2024 – Pipeline Accountability, Safety, & Environmental Act

## Slide 8: Reauthorization of the Pipeline Safety Act
Congressional Committees: 118th & 119th Congress
Senate Draft Bills
  Senate Committee on Commerce, Science, and Transportation
    S. 2980 – September 2023 – Penalizing & Improving Prevention of Emergencies Act of 2023 or “The Pipe Act of 2023”
    S. 4983 – August 2024 – PASES Act of 2024
    S. 1017 – March 2025 – Safe & Secure Transportation of American Energy Act
  Senate Committee on Energy and Natural Resources

## Slide 9: Reauthorization of the Pipeline Safety Act Highlighted Issues
Safety Standards for CO2 Pipelines
  Amend Part 195 Regulations for liquid CO2 within a year
  Storage “incidental to pipeline transportation” – does not apply to CO2 storage in geological formations
  PHMSA published proposed regulations at the end of the Biden Administration, but the NPRM was pulled back by Trump Administration and Pending Reissuance.
Pipelines transporting hydrogen/gas blends
  Requires Comptroller General study for existing natural gas pipelines with more than 5% hydrogen blends
  Operational, pipe material, technological changes needed

## Slide 10: Reauthorization of the Pipeline Safety Act Highlighted Issues
Voluntary Information System
  Envisioned in 2016 Reauthorization
  Enable pipeline industry stakeholders to share and analyze pipeline safety data on a confidential basis to improve pipeline safety
    Pipeline risks
    Recommended remediation measures
    Lessons learned

## Slide 11: Reauthorization of the Pipeline Safety Act Highlighted Issues
MAOP Reconfirmation - §192.624
  Prohibits PHMSA from requiring MAOP reconfirmation of gas transmission pipeline if the pipeline’s material strength was confirmed via prior testing to sufficient minimum pressure in accordance with then prevailing safety standards and practices.
  PHMSA to create working group to recommend minimum pressure and contemporaneous records that are sufficient to confirm transmission pipeline material strength through prior testing.

## Slide 12: GAO REPORTS TO PHMSA
GAO-24-106690 – Better Data & Planning Would Improve Implementation of Regulatory Changes – April 2024
GAO-24-106881 – Oversight of Methane Emissions Mitigation Plans – June 2024

## Slide 13: Regulatory Initiatives Safety of Gas Distribution Pipelines
    Safety of Gas Distribution Pipelines Notice of Proposed Rulemaking
      Status:
        Proposed: September 7, 2023
        GPAC Meetings: Not Scheduled
      Expanded DIMP
          Additional threats must be considered
          Pressure control records
          Preventive and mitigative measures based on system characteristics
        Expanded Emergency Response Plans
        Expanded list of emergencies
        Opt-in communications for public

## Slide 14: Regulatory Initiatives Safety of Gas Distribution Pipelines
        O&M Manuals
          Identify specific actions to immediately reduce pressure or shut down pipeline in response to indicated overpressurization
          Management of Change
          TVC records documenting characteristics of pipeline critical to pressure control; requirement to update on opportunistic basis
        Gas System monitoring by qualified personnel
        Design new regulator stations on low-pressure distribution systems to ensure redundant technologies to avoid or mitigate overpressurization
        Construction inspections performed by personnel other than personnel that engaged in the construction
        Retain records of tests performed on pipelines operating below 100 psig, service lines and plastic pipelines.

## Slide 15: Regulatory Initiatives Safety of Gas Distribution Pipelines
        Retain records of tests performed on pipelines operating below 100 psig, service lines and plastic pipelines.
        Expanded annual report to include number and miles of low-pressure service lines, including overpressure protection methods.

## Slide 16: Regulatory Initiatives Class Location
    Class Location Notice of Proposed Rulemaking
      Status:
        Proposed: 2020
        GPAC Meetings: March 25-29, 2024
        Post-GPAC Comments due: August 29, 2024
      When pipeline segment changes from Class 1 to Class 3, would permit operator to apply integrity management principles in lieu of replacement, reducing pressure, or pressure tests
      GPAC discussions focused on expanding applicability and retroactive application

## Slide 17: Regulatory Initiatives Class Location
    Information Collection Request re Reporting Pipelines Transporting Hydrogen/Gas Blends
      Status: comments filed June 24, 2024
      Would require operators to report the number of miles of gas transmission pipelines located between rupture mitigation valves or alternative equivalent technologies, categorized by pipeline outside diameter and location relative to HCAs and class locations.
      Would modify multiple report forms for gas distribution and transmission pipelines to allow operators transporting blended hydrogen/natural gas blends to select one of three new commodity values corresponding to various percentages of hydrogen gas by volume.
        s

## Slide 18: Joseph Hainline 202-460-4719 jhainline@vnf.com
Thank you!